## Slide 1
Ex1.16: B0 Distortion correction in EPI
MRI Pulse Sequence Programming
Presented by:
Utkarsha Shukla

## Slide 2
Echo Planar Imaging
Unlike conventional MR techniques, EPI requires a single excitation pulse and whole k-space
is sampled in a continuous trajectory.
Since the decay of signal is governed by T2 and field inhomogeneity, the acquisition should be
complete within 50ms-100ms.
Advantage- Complete use of spin magnetization and Signal-to-noise ratio is high.
Disadvantage- Makes the system vulnerable to inhomogeneities

## Slide 3
Causes for B0 Distortion
Main cause is residual magnetic field inhomogeneity, due both to the external room temperature shim coils not being optimally set and high order internal magnetic field inhomogeneities in the sample, which cannot always easily be shimmed out using external coils.
Here, the disturbance is due to air-tissue interface.
Homogeneous B0
Inhomogeneous B0
Signal Loss
Shim coils

## Slide 4
1. 1. Hwang, SH., Lee, HS., Choi, S.H. et al. Distortion correction using topup algorithm by single k-space (TASK) for echo planar imaging. Sci Rep 13, 18751 (2023).
2. fmri.ucsd.edu/Howto/3T/DTI-TOPUP.html
Methodology
Toolbox: FSL
Blips up and blips down in a single k-space, using 2 different k-spaces in my code
Distortion occurs in Phase-Encoding direction

## Slide 5
Positive-Encoding(+ve blips)
Negative-Encoding(-ve blips)
Sign reversal of the effects of ΔB0

## Slide 6: Approach: Top-Up Distortion Algorithm
2. Jesper L.R. Andersson, Stefan Skare, John Ashburner, How to correct susceptibility distortions in spin-echo echo-planar images: application to diffusion tensor imaging,
Field-Map to measure deviations in B0 and Signal Loss
Unwarp with the field map to improve image registration
Deweight area with substantial signal loss during registration
Use Gradient Echo or blip reversed EPI
Magnitude
Phase
Displacement of each pixel along the the line
Intensity profile along the line

## Slide 7
Distortion correction within FEAT
fsl.fmrib.ox.ac.uk/fslcourse

## Slide 8
fsl.fmrib.ox.ac.uk/fslcourse

## Slide 9
fsl.fmrib.ox.ac.uk/fslcourse